## Slide 1: NEW GENERATION COAL-FIRED POWER PLANTS: INNOVATION AT THE DRY FORK STATION, GILLETTE, WYOMING
Brenda K. Schladweiler, BKS Environmental Associates, Inc., Gillette, WY

## Slide 2: Current Coal Electrical Generation
According to the U.S. Energy Information Administration (EIA):
In 2017 coal-fired power generation provided 30% of the electrical demand for the United States (U.S.). That is down from 44.5% in 2010.
14 gigawatts (GW) of coal-fired generating capacity were expected to retire in 2018.
Another 4 GW of capacity are planning to retire by the end of 2019.

## Slide 3
Source: U.S. Energy Information Administration
Wyoming has 23 operating coal-fired power stations at 9 locations totaling 6,168 megawatts (MW).
Extent of Coal-Fired Power Plants

## Slide 4
Coal in Campbell County and Wyoming

## Slide 5: Campbell County - Energy Capital of the Nation
Producer of approximately 10% of Total U.S. Energy (BTUs)
Powder River Basin coal accounts for
40% of the total coal-fired power
generation provided to the U.S.
#2 Oil producing county in Wyoming
Uranium and wind resources
Credit: Mark A. Christensen, MC Aegis LLC

## Slide 6: Campbell County Assessed Valuation 2018
Chart: 
| COAL | OIL | GAS | URANIUM | MISC MINERALS | PUBLIC UTILITIES | TELEPHONE | PIPELINES | REA'S | RAILROADS | CABLE SAT CO. | LOCAL
 | 2592159599 | 755998308 | 171724767 | 1873288 | 5703624 | 71389766 | 1729309 | 25703682 | 82345737 | 56909709 | 682526 | 662056617
Credit: Mark A. Christensen, MC Aegis LLC

## Slide 7
Credit: Mark A. Christensen, MC Aegis LLC

## Slide 8
Credit: Mark A. Christensen, MC Aegis LLC

## Slide 9: Old Generation Coal-Fired Power Plant-According to the EIA
Most coal-fired power plants in the U.S. were built before 1990.
Most of the generators projected to retire are older, inefficient units primarily concentrated in the Mid-Atlantic, Ohio River Valley, and Southeastern U.S.

## Slide 10: Old Generation Coal-Fired Power Plant Concerns
Emissions
Water Conservation and Reuse
Ash Generation and Storage

## Slide 11: Emissions
According to the EIA:
About 43% of all coal-fired plants did not have flue gas desulfurization (FGD) systems installed as of 2010.
Coal plants without FGD systems will likely be required to install either a FGD or dry sorbent injection (DSI) system to continue operating in compliance with the Mercury and Air Toxic Standards(MATS).

## Slide 12
Source: U.S. Energy Information Administration

## Slide 13: Water Conservation and Reuse
Low Water Efficiency and Reuse.

## Slide 14: Ash Generation and Storage
According to the Environmental Protection Agency (EPA), coal ash is any of the following:
  Fly Ash
  Bottom Ash
  Boiler Slag
  Flue Gas Desulfurization Material
Previously, some power plants may have disposed of ash in surface impoundments or in landfills. Discharge water associated with impoundments could be discharged into a nearby waterway through a water discharge permit after treatment. However, recent regulations do not allow this.

## Slide 15: Challenges - Coal Ash Regulations
Surface water and groundwater issues in the eastern United States
Potential Groundwater contamination – four listed in Wyoming
  PacifiCorp’s Jim Bridger power plant outside of Rock Springs
  Naughton power plant outside of Kemmerer
  Dave Johnston power plant near Glenrock
  Basin Electric Power Coop’s Laramie River Station coal plant outside of Wheatland

## Slide 16: New Generation Coal-Fired Power Plants
Emissions
Water Conservation and Reuse
Ash Generation and Storage

## Slide 17: New Generation Coal-Fired Power Plants

## Slide 18: Emissions
The latest generation of pollution control technologies are utilized resulting in very low emissions.
  Nitrogen oxides (NOx)
  Sulfur dioxide (SO2)
  Particulates (PM)
  Mercury (Hg)

## Slide 19: Water Conservation and Reuse
The plant used an air-cooled condenser, technology chosen to conserve water resources.
The water-to-steam-to-water cycle is a closed-loop process, and make-up water is added as needed to maintain water quality and quantity.

## Slide 20: Ash Generation and Storage
Ash is placed above ground.
Ash is compacted as it is laid down to create a hard-packed surface to reduce dust and maintain stability.
Sprinklers are in place to minimize dust.
Contemporaneous reclamation will occur after each cell is complete.
Ponds are lined with geomembrane material.
Groundwater monitoring wells are sampled quarterly.

## Slide 21: Ash Generation and Storage

## Slide 22
Future Outlook for
Coal Power Generation

## Slide 23
Chart: Energy Demand Millions of Tons of Oil Equivalent
| 1990 | 1995 | 2000 | 2005 | 2010 | 2015 | 2020 | 2025 | 2030
Coal | 2400 | 2400 | 2300 | 2400 | 2500 | 2400 | 2300 | 2200 | 2000
Oil | 3100 | 3300 | 3500 | 3800 | 3900 | 4000 | 3900 | 3800 | 3700
Gas | 1500 | 1800 | 2100 | 2500 | 2600 | 2700 | 3000 | 3200 | 3400
Biomass | 1000 | 600 | 800 | 1000 | 1100 | 1200 | 1000 | 1100 | 1400
Nuclear | 200 | 200 | 500 | 500 | 500 | 500 | 800 | 1000 | 1400
Hydro | 100 | 100 | 200 | 500 | 800 | 900 | 1000 | 800 | 700
Renewables | 100 | 100 | 200 | 200 | 500 | 1000 | 1500 | 2200
Credit: Esther Wagner, Petroleum Association of Wyoming

## Slide 24: Potential Coal-fired Plant Shutdowns
Rocky Mountain Power evaluating closing four WY power plants.
Two units at Jim Bridger in Sweetwater County and two units at Naughton in Lincoln County.
Customers would save approx. $248m, if the retirement of the plants was accelerated according to the company.
  Publicly traded company
RMP will produce a plan for the closures August 1st 2019.
Source: Gillette News Record 4-25-19

## Slide 25: EIA Forecasts Coal at 17% of Electricity Generation by 2050, Down from 30% Today
Source: U.S. Energy Information Administration.

## Slide 26: Innovation to Address Concerns

## Slide 27: Background
In 2014, the Wyoming State Legislature allocated $15 million for the design, construction, and operation of the Integrated Test Center (ITC) at Dry Fork Station in Gillette, WY.
The goal is to study the capture, sequestration and management of carbon emissions.
The ITC is one of a handful of such facilities around the world and only the second one in the United States.
The ITC Project was started by Governor Mead and spearheaded by the WY Infrastructure Authority.

## Slide 28: Carbon XPrize Competition
An NRG COSIA Carbon XPrize sponsored a $20 million prize to a commercially viable technology developed from the effort at the ITC.
  The competition is structured as a two-track prize, with the new technologies tested at either a coal power plant or a natural gas power plant. A total of US$20M will be awarded to winning teams, with US$10M awarded for each track. https://carbon-xprize.cosia.ca/xprize-about
Researchers from around the world will test Carbon Capture, Utilization and Sequestration (CCUS) technologies using 20 megawatts (MW) of actual coal-based flue gas.
Along with testing capture technologies, additional research will look at taking flue gas and turning it into a marketable commodities such as concrete, biofuels, and fertilizers.

## Slide 29
Small Test Bays
Large Test Bays
The ITC will utilize two different sized test bays for the competitors in the Carbon XPrize competition
Source: University of Wyoming School of Energy Resources

## Slide 30: CarbonSAFE
CarbonSAFE (Storage, Assurance, and Facility Enterprise) project.
Initiated by the University of Wyoming’s School of Energy Resources.
Hosted at Dry Fork Station in Gillette, Wyoming.
This is a 4-phase project:
  Phase 1: Integrated CCS Pre-Feasibility,
  Phase 2: Storage Complex Feasibility,
  Phase 3: Site Characterization,
  Phase 4: Permitting and Construction.

## Slide 31: CarbonSAFE Phase 2
University of Wyoming’s Research Questions:
Is there sufficient volume in the subsurface to store commercial quantities (2 million tons per year ) of CO2?
Can the CO2 be injected safely? Stored permanently?
What are the risks?
Source: University of Wyoming School of Energy Resources

## Slide 32: CarbonSAFE Phase 2 (cont.)
How they will attempt to answer these questions:
Drill a 10,200 foot deep research well. Gillette-based company, Cyclone Drilling began Mid April 2019
Collect subsurface well data.
Acquire 12.5 mi2 3D seismic survey.
Create a complex computer model from the well data to test various scenarios.
Source: University of Wyoming School of Energy Resources

## Slide 33: Research Well

## Slide 34: CarbonSAFE Location Advantages
CO2 Source: Engaged Industry Partners
Saline Storage: Text book geologic reservoirs, that have a low risk of leaking, for storage.
Induced seismicity: Low risk of induced seismicity (Earthquakes).
Favorable Economics: Proximal enhanced oil recovery and CO2 transport opportunity.
Source: University of Wyoming School of Energy Resources

## Slide 35: CarbonSAFE - Why Wyoming
Capable Coordination Team: Experienced and diverse coordination team (Academia, Industry and Regulatory).
CO2 Transport: Existing statewide CO2 pipeline and pipeline ROW’s.
Pore Space Ownership: Pore space ownership is defined.
Regulatory: CCUS friendly regulatory environment, pending application for WY Class VI primacy.
Public Awareness: Energy educated community.
Trained Workforce: CCUS industry jobs analogous to energy industry jobs.
Source: University of Wyoming School of Energy Resources

## Slide 36: Additional Related Opportunities
Clean Coal Technologies, Inc.
  $1m from University of Wyoming School of Energy Resources.
  CCTI has developed a process that will remove water but prevents spontaneous combustion – thus reducing weight, increasing BTU value and making it safer to transport.
  Set up test facility at the former Fort Union Mine.
Carbontech Labs
  Uses ITC as an incubator.
  Launchpad for new carbon related products or uses.
  Business accelerator group, help up and coming groups find capital and business leadership.

## Slide 37: Continued Energy Development is Important to Wyoming

## Slide 38: Energy Development and a Clean Environment are not mutually exclusive

## Slide 39: Wyoming’s State of the Environment 2018
Since 2008, NOx emissions from 115 (Title V) large facilities have been reduced by 47,537 tons. Equivalent to emissions from 5.4 mil. cars or 3.9 mil. light trucks
Since 1977 under the AML program:
  25,155 acres reclaimed as habitat and range land.
  2,473 mine openings closed.
  127 miles of impaired streams restored.
Source: Wyoming DEQ

## Slide 40: Wyoming’s State of the Environment 2018 (cont.)
Active Coal mines:
  184,488 total acres disturbed
  37,835 acres of long-term support facilities
  106,964 acres in reclamation phases
  39,689 acres actively being mined
Source: Wyoming DEQ

## Slide 41
Possible Strategies
to Maintain Wyoming’s Role

## Slide 42: Be Forward Thinking
“It doesn’t matter whether or not you believe in man-induced global warming, the world does.”
“Crude coal” can be used for other products the same way “crude oil” is used to derive other products such as plastics.
Wyoming, as the first in so many issues, needs to be part of the solution. “If you are not at the table, you are on the menu.”

## Slide 43: Current Entities in Wyoming Working on Solutions
University of Wyoming School of Energy Resources
Wyoming Infrastructure Authority
Western Research Institute
Wyoming Business Council
ENDOW
Campbell County Commissioners
City of Gillette
Energy Capital Economic Development
Wyoming Mining Association
Many others

## Slide 44: Local or Regional Policies
Building off CarbonSAFE and other initiatives, develop – and thereafter export – business, finance & regulatory models for Carbon Capture and Storage (CCS) / Carbon Capture, Utilization, and Storage (CCUS) and other low-carbon projects and technologies.
Continue to evaluate the use of CCS/CCUS in northeastern WY and elsewhere in the state.
Continue to bring world innovators and researchers to this area.
Source: University of Wyoming School of Energy Resources

## Slide 45: National and International Policies
Engage in the low-carbon energy & related energy bills to ensure Wyoming’s interests are protected.
The Paris Agreement’s “Rulebook” is set to be completed at Conference of the Parties (COP25) in Chile in December 2019.
A key remaining unknown is the fate of the Article 6 Market Mechanisms; Article 6 has the potential to help CCS / CCUS.
  Article 6 of the Paris Agreement form the legal framework to allow use of market-based climate change mitigation mechanisms.
Wyoming needs to be at the table.
Source: University of Wyoming School of Energy Resources

## Slide 46: Coal in a New Carbon Age
Key questions
  What significant market-scale opportunities exist for new markets for coal?
  What are the economic, energy security, trade and other issues the U.S. faces now that can be addressed with new markets for coal?
Recommendations
  Establish a focused R&D program on coal-to-products
  Accelerate research-to-commercial deployment in coal-to-products markets
  Incentivize private sector investment in coal-to-products production and manufacturing sectors
National Coal Council, https://www.nationalcoalcouncil.org (August 31, 2018)

## Slide 47
Questions ?